## Sheet1
STARSHADE Project Budget
STRUCTURE
QTY | Name | Cost Each | Total Cost | Link | Notes
24 | 2" x 3" x 8' Lumber | 2.98 | 71.52 | https://www.homedepot.com/p/2-in-x-3-in-x-96-in-Premium-Spruce-Stud-40350A/ | 2x4 works too, 2x3 is cheaper and lighter
40 | 2" x 4" x 10' Lumber | 4.23 | 169.2 | https://www.homedepot.com/p/2-in-x-4-in-x-10-ft-2-Premium-Grade-Fir-Dimensional-Lumber-D204SEC-294-10/313824028 | 8' works too, but 10' makes structure sturdier and more expandable in future.
32 | 1.5" U-Bracket | 3.12 | 99.84 | https://amzn.to/4nNS8iY | For upright crosses
16 | 3/8" Bolt x 2" | 1.17 | 18.72 | https://www.amazon.com/dp/B0D14D47JF?ref_=ppx_hzsearch_conn_dt_b_fed_asin_title_4&th=1
16 | 3/8" Bolt x 3" | 1.17 | 18.72 | https://www.amazon.com/dp/B0D14D47JF?ref_=ppx_hzsearch_conn_dt_b_fed_asin_title_4&th=1
50 | 3/8" Bolt x 4" | 1.17 | 58.5 | https://www.amazon.com/dp/B0D14D47JF?ref_=ppx_hzsearch_conn_dt_b_fed_asin_title_4&th=1
50 | 3/8" Brass Insert Nut | 0.38 | 19 | https://a.co/d/avJpMYh
40 | 3/8" Washer | 0.4 | 16
2 | IBC Tanks, used, non-potable | 30 | 60
| Structure Subtotal |  | 531.5
SOLAR EQUIPMENT
QTY | Name | Cost Each | Total Cost | Link | Notes
15 | 230W Solar Panels (used) | 25 | 375 | https://www.facebook.com/marketplace/item/3696888457108830/ | Best Value, Local, Reclaimed Material 39.2" x 65"
0 | 100W rigid panels (new) | 59.99 | 0 | https://www.amazon.com/Alrska-High-Efficiency-Monocrystalline-Off-Grid-Applications/dp/B0BKP982PX?th=1 | Smaller, easier to move, more expensive.
0 | 180W flexible panels (new) | 99 | 0 | https://www.amazon.com/Topsolar-Semi-Flexible-Monocrystalline-Off-Grid-Surfaces/dp/B0CLQZM68Z/ref=sr_1_18?crid=135DD7L2BQZ2G&dib=eyJ2IjoiMSJ9.chDyeTkeTPFgm-c5BRVbgiX-h-DlONCRRWacHlHjt1fn5Q9CBk95QBeSddLHEtl0o3L09B1mbVYj9LYAQDHatyko5bkiCxsfZ7-1wHKYMEGgms-t0vzdo3stXc_OoDU_BAAw0xPimQEYq--BdzekpAbbR7sMDIAmVIVOKdCQxAnYjS3ccHDphVNiHOeIdeQ6QK9SX7_UMsGm6sC_lPHDnrrBfXF-Yzcc7X8aUpf0Yqo.EFUg9v78mU-Bw5MTfIS1IVUuUjEyVW2nFKBLGgvPl8g&dib_tag=se&keywords=flexible%2Bsolar%2Bpanel&qid=1762568271&sprefix=flexible%2Bso%2Caps%2C203&sr=8-18&th=1 | Low-profile, lightweight, less durable, more expensive
0 | Inverter 6000XP | 1750 | 0 |  | Best Long-Term Investment, lots of room for expansion
1 | PowMR 5.2kw Hybrid Inverter | 820 | 820 | https://a.co/d/5fFd78s | Best Short-Term Investment, Cheap and good enough
0 | 16kWh 48VDC battery | 3300 | 0 |  | Best Long-Term Investment, roughly equal to daily solar output of panels
1 | 5.2kWh Server Rack Battery | 849.99 | 849.99 | https://a.co/d/itSft7A | Best Short-Term Investment, Modular, Expandable in the future as needed
1 | 3-String Solar Combiner Box | 91.99 | 91.99 | https://a.co/d/50MlvSe | Connects panels in series, adds circuit protection and master shutoff
1 | Argon NEO 5 Cooling Case | 41.49 | 41.49 | https://a.co/d/cLLAvS2 | For keeping Home Assistant server cool and enclosed
1 | Raspberry Pi 5 8GB | 88 | 88 | https://a.co/d/7FVV9wx | Home Assistant Server- Add automations, track and record performance stats, generate interactive charts, graphs, and LEDs.
1 | 64GB SD Card | 8 | 8 | https://a.co/d/1T3LGV6
1 | USB-C Power Supply | 12.99 | 12.99 | https://a.co/d/0MRowMQ
1 | Wifi Router | 49.99 | 49.99 | https://a.co/d/74qspWk | Creates local wifi sensor network, and can host documentation files for local download
1 | Shelly 4pm | 106.99 | 106.99 | https://a.co/d/cXtL8dS | Adds per-circuit energy monitoring and electronic circuit protection
| Solar Subtotal |  | 2444.44
| Project Total |  | 2975.94